## Technical
Sl.No | Updation
1 | The application should have a listener full time.
2 | Define all the ports of all the Gateway hubs need to be installed part of scalability. (Need to know the number of sensors used in the project).
3 | Check the diagnostic aspects of each sensor.
4 | Examine the MCB connector for the Energymetre.
5 | Check the 8 ports of Gateway Hub

## Non_Technical
Sl.No | Issues
1 | The water level sensor needs to raise the complaint in the Alibaba and reorder the sensor.
2 | Check Indiamart for prices on wired and ultrasonic water level sensors.
3 | Buy water level sensor and Industrial Pi from the local market.
4 | Check the cost of the Flowmeter having a one-inch diameter.
5 | Check all the adapters and their qualities used in the project.
6 | Need to implement the Energymeter and STP Sensor integration on June 17.
7 | Verify the flowmeter's internal RTC. Check whether it has universal time.
8 | Each flowmeter should also have a temperature sensor.
9 | Need to create a detailed description of the implementation of sensors on the site (How, Place, and Connection Diagram). | Documentation
10 | Prepare a document on failure mode analysis. | Documentation
11 | Prepare a document on pros and cons of 3 phase over single phase. | Documentation
12 | Need to create a complete documentation of Configuration of Gateway hub in the web interface (192.168.1.254). | Documentation
13 | Need to create a complete documentation of Configuration of Gateway address in the internal network. | Documentation

## Program
Sl.No | Tasks
1 | Get information from Azure IoT.
2 | Save the data from Azure in a log file.
3 | Clear all sensor setups, including the frequency time, if the message is "RESET."
4 | Set the configuration of Energymeter if the message is "Energymeter" with "Device ID."
5 | Set the COD, BOD, and TSS sensor configuration if the notification says "COD, BOD, and TSS" with "Device ID."
6 | Threading must be used to run the receiving and transmitting functions in parallel.
7 | Make an Azure Communication class and include all definitions of Azure Communication functions in it. \ azure get sensor details - Finished set sensor details - Finished \ device get sensor config - Finished set sensor config \ sensor log - Finished recieving log - Finished
8 | When transferring data to Azure, the embedded device should add an acknowledgement to the configuration it reads.
9 | Send information to Azure every 1 second.
10 | Integrate universal time into embedded, backend, and front-end applications.
11 | Check the Ph output
12 | Check the (Set Slave Device ID Get Serial Number Get Software and Hardware Rev Get User Calibration Coefficients Set Customer Calibration Coefficients Active Brush Set Brush Interval of time Get Brush Interval of time Get Slave Device ID) of COD, BOD and TSS
13 | Error: ['azure.iot.device.common.transport_exceptions.ConnectionDroppedError: Unexpected disconnection\n'] Exception caught in background thread. Unable to handle.
14 | Change the library for delay.
15 | Implement a log for errors, data received from Azure, and data sent to Azure.
16 | Error codes in sending the errors.
17 | To read the sensor readings, create a json file.
18 | Transmit the data that was read from the json file.
19 | Once done transmitting, delete the data that was sent.
20 | Writer has the responsibility to create the file and the Reader has the responsibility to delete the file.
21 | After writing the data the file is closed and released.
22 | Make an index for the data to send.
23 | Use the "Event.wait" method rather than the "time.sleep" function.
24 | Create a new file if the json file has more than 2000 lines.
25 | The file size grows concurrently with an increase in frequency of time.

## Problems
Sl.No | Problems
1 | Error in the format of message to send to the iot azure hub.
2 | Difficult to read message from azure iot hub.